## Sheet1
product_reference | description | manufacturer | product_type | date_end_of_life | is_supported | data_fiability
EL4034 | The EL4034 is a 4-channel analog output terminal designed for EtherCAT systems. It provides voltage outputs of ±10 V and is powered by a 24 V supply. The terminal's signal state is indicated by light emitting diodes, making it easy to monitor its status. | Beckhoff Automation | analog output terminal |  | TRUE | 90
Sirius 3RT1026-1BB44 | Unknown | Siemens | Unknown |  | FALSE | 50
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw terminal. | Siemens | Power Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | The Sirius 3RT1026-1BB44 is a contactor used for switching electrical loads. It is designed for 11KW power applications and operates with a 400VAC and 24VDC control voltage. It features 2 normally open (NO) and 2 normally closed (NC) contacts. | Siemens | Contactor |  | TRUE | 85
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
Sirius 3RT1026-1BB44 | Power contactor, AC-3 25 A, 11 kW / 400 V 24 V DC, 2 NO + 2 NC 3-pole, Size S0 Screw | Siemens | Contactor |  | FALSE | 80
EVT317-5D0-02F-QB | Solenoid valve, 3-port, direct operated, single unit, compact size with large flow capacity and low power consumption. | SMC | Solenoid Valve |  | FALSE | 80
EVT317-5D0-02F-QB | Solenoid valve, 3-port, direct operated, single unit. | SMC | Solenoid Valve |  | FALSE | 70
EVT317-5DO-02F-Q | 3/2 ports direct operated poppet solenoid valve, compact size, large flow capacity, low power consumption. | SMC | Solenoid Valve |  | FALSE | 70
EVT317-5DO-02F-Q | 3 Port Direct Operated Poppet Solenoid Valve, VT317 Series, suitable for compressed air and vacuum applications. | SMC | Solenoid Valve |  | FALSE | 70
12VDC-46.52.9.012.0040 FINDER | The 12VDC-46.52.9.012.0040 FINDER is a power relay designed for applications requiring over 2 Amps. It features a 12V DC coil and is part of the Finder Relays, Inc. product line. The relay is not discontinued and is suitable for various industrial applications. | Finder Relays, Inc. | Power Relay |  | TRUE | 85
8000-84010-3340500 | The 8000-84010-3340500 is a high-quality, halogen-free PUR cable suitable for C-tracks, UL/CSA approved. It is a 4-way distributor junction box with a 5.0m cable length, featuring M8 threaded ports integrated into a robust housing with IP65/IP67 ingress protection. This product is part of the Exact8 series and is designed for industrial applications, offering quick and easy replacement of connection cables. | Murrelektronik | Distributor junction box with cable |  | TRUE | 90
FVDK12P6101/S35A | Photoelectric fiber optic sensor used for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor | Unknown | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor used for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor used for detecting distances and distance information. | Baumer Electric | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor used for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Photoelectric fiber optic sensor used for detecting distances and distance information from the µm range to 60 m. | Baumer Electric | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, with alternatives suggested. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, with alternatives suggested. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, with alternatives suggested. | Baumer Electric | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor by Baumer, no longer available and discontinued. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, discontinued product, not RoHS compliant. | Baumer Electric | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, discontinued product. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, discontinued product. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, with alternatives suggested. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor for detecting distances and distance information from the µm range to 60 m. | Baumer | Fiber optic sensor |  | FALSE | 80
FVDK12P6101/S35A | Fiber optic sensor, no longer available, with alternatives suggested. | Baumer | Fiber optic sensor |  | FALSE | 80